VFD Preventative Maintenance

# References

## Authorization

## Training/Certification

## Equipment/Information

## Policies

## Related Procedures

# Security Considerations

|  |  |  |
| --- | --- | --- |
| CM informatioin | | |
| Site/Pod: | CM#: | |
| Technician: | Date: | |
| Start time: | End time: | |
| Equipment Information | | |
| Manufacturer: | | Model #: |
| Serial #: | Assed ID: | |

# Procedure

|  |  |  |  |
| --- | --- | --- | --- |
| PRELIMINARY STEPS | Yes | No\* | N/A |
| Was the drive and bypass blown out with nitrogen? |  |  |  |
| Was the Electric connection tightened to torque specs? |  |  |  |
| CHECK OPERATION | OK | NOT OK\* | N/A |
| Operate the drive in hand (ramp up and down) |  |  |  |
| Operate the drive in bypass |  |  |  |
| Put the drive back in auto ensure operation ok |  |  |  |

\*Describe any observations for items checked “NO” or “NOT OK”:

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\*Corrective actions required or taken for observations for items checked “NO” or “NOT OK”:

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

## Document Properties

|  |  |
| --- | --- |
| **Property** | **Value** |
| Site Code | DCA |
| Filename | dca\_dceo\_pm\_vfd |
| Title | VFD Preventative Maintenance Checklist |
| Version number/Date version published | Draft |
| Doc Type | PM |
| Zone | Region |
| Technical Owner | swilleye@ |
| Technical Writer | beelliot@ |
| Affected Equipment | VFD |
| Sensitivity rating | Amazon Confidential |
| Origin | Commercial version |
| URL | TBD |
| Physical location | TBD |
| Audience | EOP |
| Renewal date | 1/1/15 |

## Status

|  |  |  |
| --- | --- | --- |
| **Status** | **Date mm/dd/yy** | **Approver/Reviewer Name** |
| Original filed | 1/1/14 | NA |
| Writer sent to SME for review | 1/1/14 | NA |
| SME sent to Writer | 1/1/14 | NA |
| Writer sent to SME for approval |  | NA |
| SME approved |  |  |
| Writer copy edited |  | NA |
| Site Manager approved |  |  |
| Regional Manager approved |  |  |
| Writer published |  | NA |